Determination of the three estrogens in environmental water samples using dispersive liquid-liquid microextraction by High-Performance Liquid Chromatography and fluorescence detector

Érika M. L. Sousa1*; Reyla A. S. Dias4, Eliane R. Sousa2, Natilene M. Brito4; Arlan S. Freitas4; Gilberto S. Silva3; Lanna K. Silva4; Diana L. D Lima1; Valdemar I. Esteves1; Gilmar S. Silva4.

1 CESAM & Department of Chemistry, University of Aveiro, Campus de Santiago, 3810-193 Aveiro, Portugal

2 Federal Institute of Education Science and Technology of Maranhão, Maracanã Campus, Av. dos Curiós, S/N, Vila Esperança, São Luís-MA Zip Code 65095-460.

3 Department of Chemistry, Federal Institute of Education, Science and Technology of Goias, Morrinhos Campus, Highway BR 153, KM 633, 75650-000, Morrinhos - GO, Brazil

4 Federal Institute of Education, Science and Technology of Maranhão, Department of Chemistry, Monte Castelo Campus, Getúlio Vargas Avenue, N. 04, 65030-005 São Luís-MA, Brazil.

corresponding author*: erikamsousa@ua.pt/ +351 932 081 400

Funding

This work was funded by Fundação de Amparo à Pesquisa ao Desenvolvido Científico e Tecnológico do Maranhão (FAPEMA).

Conflicts of Interest

The authors declare no conflicts of interest.

Ethics approval

Not applicable

ABSTRACT

In this work the dispersive liquid-liquid microextraction technique (DLLME) is presented as an important alternative to the classical extraction methods and was used to extract and concentrate before estrogen quantification by HPLC in environmental water samples. For the evaluation of the analytical methodology, the following conditions were used: sample volume: 8 mL; extraction solvent: 200 μL of chlorobenzene; dispersive solvent: 2000 μL of acetone. The enrichment factor (EF) was 140 for Estrone, 202 for 17β-estradiol (E2) and 199 for 17α-ethinylestradiol (EE2). Limit of detection was 20 ng L-1 for E1, 3.1 ng L-1 for E2, 2.7 ng L-1 for EE2. Repeatability and intermediate reproducibility presented values of relative standard deviation lower than 10%. Finally, recovery tests were performed to evaluate the water matrices effects on the extraction performance, resulting in recoveries between 76% and 110% in surface water and between 84% and 109% in wastewater.

Keywords: Pharmaceuticals; Estrogens; High performance liquid chromatography, Dispersive liquid-liquid microextraction; Water.

# INTRODUCTION

In recent decades, there has been an expressive increase in pharmaceuticals and care products production and consumption, and although it has improved the population life quality, it has also brought environmental consequences (de Jesus Gaffney et al. 2015). Since then, there has been a growing concern about the presence of these compounds due to their possible effects on ecosystems and public health.

Endocrine disruptors (EDs) are substances capable of interfering or modifying the endocrine system of humans and animals, causing adverse health effects (Dodgen et al. 2017). Estrogens represent an important group of steroid EDs and are classified as natural (17β-Estradiol (E2) and Estrone (E1)) and synthetic (17α-Ethinylestradiol (EE2)) compounds (Becker et al. 2017; Rodenas et al. 2017) . The presence of steroid hormones in water may be indicative of anthropogenic contamination due to discharges of contaminated effluents. According to studies by Berenger et al., (2017), many of these substances are difficult to remove at waste water treatment plants (WWTPs) and thus persisting in the aquatic environment. Depending on the concentration and time of exposure, it is possible that these substances may be related to diseases such as breast, testicular and prostate cancer, polycystic ovaries and reduced female fertility (Di Donato et al. 2017; Sifakis et al. 2017). The presence in the environment has been related to inhibition of egg production in fish, proving its potential risk to the environment (Thrupp et al. 2018). E1, E2 and EE2 were detected and determined in domestic sewage and in WWTPs by several investigators (Becker et al. 2017; do Nascimento et al. 2018; Ekpeghere et al. 2018), showing that anthropogenic activities are an important contribution for aquatic environment contamination. These hormones are generally present in the aquatic environment at very low concentrations (ng L-1), demanding the development of sensitive techniques for their detection and quantification.

Due to the presence in the environment at very low concentrations, the determination of E1, E2 and EE2 in water samples requires sensitive instruments such as gas chromatography coupled to mass spectrometry (GC-MS) (Česen and Heath 2017) and liquid chromatography coupled to mass spectrometry (LC-MS) (Kleywegt et al. 2011). These techniques have been used in the last decades for hormone analysis in environmental samples. However, its use has several requirements, such as the need of specifically trained analysts, expensive instrumentation, as well as, high cost of maintenance. Due to financial constraints, high costs may be impracticable for the use of these analytical techniques in various laboratories around the world. On the other hand, high-performance liquid chromatography (HPLC) is a widely available, low cost, easy to use, faster and simple technique. It can be coupled to diode array (DAD), fluorescence (FLD) and/or UV-Visible detectors. Due to their low sensitivity, preconcentration methodologies, previously to the analysis, is required. Among preconcentration methodologies, solid phase extraction (SPE) (Razmkhah and Sereshti 2018), liquid-liquid extraction (LLE) (Fredj et al. 2015), solid phase microextraction (SPME) (Liao et al. 2016) and liquid phase microextraction (LPME) may be applied. LLE and SPE consume high volumes of organic solvents, being SPME an alternative to SPE. However, SPME is expensive, has the problem of sample carryover and has limited application. LPME, on the other hand, overcomes many disadvantages caused by LLE, SPE and SPME, since it focuses on simplicity, fast application, low cost and low solvent volume required for the extraction (Lima et al. 2013).

Among LPME techniques, dispersive liquid-liquid microextraction (DLLME) has emerged as an alternative to meet these objectives. It was introduced in 2006 by Rezaee et al. (Rezaee et al. 2006) and consists on the pre-concentration of analytes in aqueous matrices. Since the emergence of DLLME, numerous innovations have improved its performance, such as automation (Alves et al. 2016), the use of less toxic and safer extractive solvents (e.g. ionic liquids and surfactants (Tuzen et al. 2017)), the use of solvents with lower density than water (Seebunrueng et al. 2014), and the absence of a dispersive solvent (Gałuszka et al. 2013; Spietelun et al. 2014), being recently the focus of analytical chemistry.

DLLME is a preconcentration method where some microliters of a suitable organic extraction solvent together with a dispersive solvent are injected into the sample, causing the formation of small droplets which are dispersed throughout the water sample. After the formation of a cloudy solution, the equilibrium state is readily reached. The mixture is then centrifuged and the sedimented/floating phase containing the analyte of interest is collected (Lima et al. 2013). It is a simple and fast technique, with many advantages over conventional extraction methods, among them the low volume of solvents (μL) used, high surface area between the extraction solvent and the aqueous sample and the high enrichment factor (Kocúrová et al. 2012). Also, advantages, such as simplicity of operation, speed, environmentally friendly and easy connection to the various methods of analysis (Rezaee et al. 2006) are referred.

Therefore, the objective of this work was to develop and validate an analytical method, based on a microextraction technique, to quantify E1, E2 and EE2 estrogens in different environmental water samples by HPLC with fluorescence detection.

# MATERIALS AND METHODS

# 2.1 Reagents and solutions

Estrone (99.9%), 17β-estradiol (≥97%), 17α-ethinylestradiol (≥98%) and chlorobenzene [(C6H5Cl) 99.9%] were provided by Sigma Aldrich. Acetonitrile and acetone (99.9% HPLC grade) were supplied by HiperSolve Chromanorm and Carlo Erba, respectively. Ultra-pure water was obtained through Millipore's Milli-Q water system.

The individual stock solutions of E1, E2 and EE2 were prepared in acetonitrile at a concentration of 100 mg L-1. The working solutions were obtained by dilution of the stock solution with ultrapure water until the desired concentrations.

# 2.2 Instrumentation

The chromatographic system used for the analysis of E1, E2 and EE2 was a Shimadzu® LC 20AT Prominence (model DGU-20A5) with a high-pressure pump coupled to a fluorescence detector (model RF-20 A XS) also from Shimadzu®. The detection was performed using an excitation wavelength of 280 nm and an emission of 310 nm. A Shimadzu LCsolution® software was used to control the equipment and to obtain the data. The column used for the separation was an ACE C18-PFP (5 µm, 150 mm x 4.6 mm) connected to an ACE 5 C18 4.6 mm i.d. guard column. Both the column and cell were maintained at 25 ºC temperature. The mobile phase consisted of a water: acetonitrile (50:50, v/v), at a flow rate of 0.8 mL min-1 with an injection volume of 20 μL. The water and acetonitrile were pretreated by filtration with Whatman 0.2 μm polyamide membrane filters.

A Lab Dancer Mini Vortex from VWR International was used to perform the agitation during the DLLME extraction procedure.

# 2.3 DLLME Procedure

The extraction conditions used were based on the work developed by Lima et al. (2013) (Lima et al. 2013) for application in E2 and EE2. These conditions were tested in this work for the quantification of E1 together with E2 and EE2 in environmental samples.

The extraction procedure consisted on 8 mL of ultrapure water spiked with E1, E2 or EE2 added to 12 mL conical bottom tubes. Then, a mixture containing 2000 µL of acetone and 200 µL of chlorobenzene was added rapidly to each tube and vortexed for 30 seconds. After the formation of the cloudy solution the tubes were centrifuged at 4000 rpm for 5 minutes. After centrifugation, the organic drop was formed and the organic phase sedimented at the bottom of the tube was collected with micropipette and transferred to a 2 mL vial, then dried under a stream of nitrogen and reconstituted using 40 μL acetonitrile. The reconstituted aliquot was analyzed using the HPLC conditions described previously.

# 2.4 Sampling and sample preparation

An estuarine water sample was collected in the Ria de Aveiro (40° 38'18' N 8° 38' 43 " W), Aveiro, Portugal, in the city center. This sample is known to have high levels of salinity and high content of organic matter (da Silva et al. 2017). Another sample was collected at the WWTP in the center region of Portugal. The collections were carried out in June 2018 and the predominant season was summer. In Brazil, recovery tests were performed on samples from of the Bacanga River (2° 33’02” S 44° 16’ 58” W,) located in São Luís, Maranhão. The samples were collected in August 2018, and the predominant season was summer.

For the collection, the sampling rules were considered, deepness, flow and cleaning of the materials used. The container was sanitized, and the samples were collected and transferred to an amber flask with 1 L volume, then stored and refrigerated at approximately 4 °C. Samples were filtered using a Millipore® assembly, with 0.45 μm Chrom Tech® filters.

  - Method Validation

After the optimization of the conditions, linear range, determination coefficient (r2), linearity, limit of detection (LOD), extraction recovery (ER) and extraction efficiency (EF) were calculated. EF is defined as the ratio of the concentration of analyte determined by HPLC to the initial concentration of analyte in the sample. The ER is given by ER (%)= EF x VACN/Vsample x100% where VACN is the volume of acetonitrile used to redissolve the dry sediment phase and Vsample is the volume of sample used in the extraction (Lima et al. 2013, 2018; Rezaee et al. 2006).

The performance of the DLLME-HPLC-FLD method was calculated based on the values of r2, LOD and linearity (Lin (%) = 100-RSDb), where RSDb is the relative standard deviation of slope of the curve (Peters et al. 2007). The LOD was calculated from each calibration curve as a+3sy/x, where a is the intercept of the regression line and sy/x is the statistical parameter which estimates the random errors in the y-axis (signal) (Lima et al. 2013). The program used was GraphPad Prism 5.

# Evaluation of matrix effects

The DLLME method was applied directly to the environmental samples. The evaluation of the water matrix influence on the extraction was performed by spiking known amounts of E1, E2 and EE2 on both water samples analyzed previously.     Concentration levels used were adjusted to the calibration curve obtained for each hormone and to the expected environmental levels. Thus, for E2 and EE2 the concentration used spiked was performed in order to obtain a final concentration of 0.05 and 0.3 μg L-1, while for E1 the final concentration was 2 and 20 μg L-1. At least five analyzes were performed for each of the two levels of fortification studied. The recovery percentage was calculated by the ratio between the experimentally determined average concentration and the corresponding expected concentration.

# RESULTS AND DISCUSSION

# 3.1 Analytical performance of the HPLC-FLD method

External standard calibration curves using HPLC-FLD without DLLME, were constructed. For this, six levels of concentration 1 to 200 µg L-1 for E2 and EE2 and 20 to 160 µg L-1 for E1 were prepared in triplicate for the hormones E1, E2 EE2. Values of r2 higher than 0.99 for the three curves were obtained and considered satisfactory. The instrumental detection limits were 19 µg L-1, 12 µg L-1 and 9 µg L-1 for E1, E2 and EE2, respectively.

# 3.2 Analytical Performance DLLME-HPLC-FLD

Six concentration levels ranging from 10 to 500 ng L-1 for E2 and EE2 and 40 to 40000 ng L-1 for E1 were prepared and subjected to the DLLME procedure described above (five replicates each concentration). The DLLME-HPLC-FLD analytical curve was obtained and LOD, r2, linearity, EF and ER were calculated (Table 1).

Table 1

DLLME-HPLC-FLD calibration parameters, extraction recovery, enrichment factor and repeatability obtained for estrogen hormones.

| Analyte | Linear Range (ng L-1) |  | Determination coefficient (r2) | Linearity (%) | Detection Limit (ng L-1) | Extraction Recoverya (%) | Enrichment Factora |
| --- | --- | --- | --- | --- | --- | --- | --- |
| E1 | 40-4000 |  | 0.998 | 99.89 | 20 | 72±2 | 140±2 |
| E2 | 10-500 |  | 0.997 | 99.76 | 2.7 | 101±7 | 202±3 |
| EE2 | 10-500 |  | 0.999 | 99.97 | 3.1 | 99±2 | 199±5 |

a Mean value ± standard deviation (n = 5) obtained for a concentration of 100 ng L-1 for E2 and EE2 and 400 ng L-1 for E1. Extraction conditions: 8 mL of standard E1, E2 or EE2; extraction solvent: 200 µL chlorobenzene; 2000 µL of acetone as dispersive solvent; extraction time: 30 s.

The DLLME-HPLC-FLD resulted in optimum linearity in the range of 10 to 500 ng L-1 for E2 and EE2, and 40 to 4000 ng L-1 for E1. The results of r2 were above 0.99, showing a very strong correlation. The low detection limits, between 2.7 and 20 ng L-1, confirm the possible applicability of the method to detect these hormones in aquatic environmental samples. Also, the method allows to obtain an enrichment factor between 140 and 202. The LOD was in the range of ng L-1, demonstrating, therefore, satisfactory parameters for the detection and quantification of these analytes at low concentrations and in complex matrices.

3.3 Application to environmental samples

The optimized method was applied to different environmental samples: Ria Aveiro (water with high salinity), WWTP (high concentration of organic matter) and Bacanga River (highly polluted river) and results are presented in Table 2.

Table 2

Hormonal concentrations found

| Portugal | Concentration Found (ng L-1) |  |
| --- | --- | --- |
|  | E1 | E2 | EE2 |
| Ria Aveiro | n.d | 120 | n.d |
| Brazil |  |  |  |
| Bacanga River | 590 | 640 | 820 |

n.d= not-detected.

The Bacanga River is located in an area subjected to siltation, mangrove urbanization, garbage, littering the banks, deforestation, burned, water contamination and eutrophication. This may explain the high concentrations obtained for all the hormones analyzed in the water samples from that river. In Portugal, the results obtained were lower than LOD values, suggesting a better water treatment than in Brazil, where the sewage treatment is scarce. In fact, estrones are often detected in Brazilian waters. For example, Sodré et al. 2010 quantified hormones E1, E2 and EE2 in surface water in the order of 39 ng L-1, 7.3 ng L-1 and 25 ng L-1, respectively (Sodré, Pescara, et al. 2010).  In environmental waters from Rio de Janeiro, hormone concentrations in the 1.97 ng L-1 at 3.50 ng L-1 range were determined (Kuster et al. 2009). E1 and E2 were also determined in drinking water in Campinas (Brazil) at concentrations of 70 ng L-1 and 100 ng L-1 (Sodré, Locatelli, et al. 2010). Torres et al. 2015 (Torres et al. 2015) determined E1, E2 and EE2 in drinking water in São Paulo (Brazil) at concentrations of 28 ng L-1, 137 ng L-1 and 194 ng L-1, respectively. Pessoa et al. (Pessoa et al. 2009) detected the occurrence of estrogens hormones in Brazilian WWTP, the effluent concentrations were 242 ng L-1, 48 ng L-1 and 124 ng L-1 for E1, E2 and EE2.

In Portugal, Ria Formosa (Rocha et al. 2013a) and Sado River Estuary (Rocha et al. 2013b), estrogens concentrations of 1.4 ng L-1, 5.9 ng L-1 and 17 ng L-1 and 1.6 ng L-1, 7.4 ng L-1 and 4.2 ng L-1 were determined for E1, E2 and EE2, respectively.

# 3.4 Evaluation of matrix effects

Spikes of 0.05 and 0.3 μg L-1 of E2 and EE2 and 2 and 20 μg L-1 of E1 were performed into two different types of samples: surface water with saline characteristics and wastewater (Brazil and Portugal) which has a high concentration of organic matter. All samples were submitted to the optimized DLLME method and analyzed by HPLC-FLD. Results obtained are presented on Table 3.

Table 3

Effect of water matrices on DLLME recovery.

| Portugal | Recoveries (%) a |
| --- | --- |
|  | E2 | EE2 | E1 |  |
|  | 50 ng L-1 | 300 ng L-1 | 50 ng L-1 | 300 ng L-1 | 200 ng L-1 | 2000 ng L-1 |
| Surface water | 102±7 | 102±1 | 104±10 | 76±6 | 110±3 | 99±7 |
| Wastewater | n.d | n.d | 109±12 | 84±5 | 85±2 | 96±5 |
| Brazil |  |  |  |  |  |  |
| Surface water | 100±8 | 92±6 | 77±9 | 101±3 | 114±5 | 86±1 |

a Mean value ± standard deviation (n = 5). Extraction conditions: 8 mL of fortified water sample; extraction solvent: 200 μL chlorobenzene; 2000 µL of acetone as dispersant solvent; extraction time: 30 s.

n.d= not determined.

The recovery results ranged from 76 to 114% in surface water and from 84 and 109% for wastewater. The selectivity of the method was verified by the analysis of possible experimental interferents at the same retention time of estrogens under study. Recovery results demonstrated that even for complex water matrices as wastewater samples, the DLLME procedure can be applied.

Selectivity was evaluated comparing the chromatograms obtained for the matrix with and without fortification. Chromatograms of a surface water sample, before and after fortification, and subjected to the DLLME procedure are presented in Figure 1. It is possible to see the increase of the peaks attributed to E2, EE2 and E1 in the fortified sample, that were absent in the surface water sample analyzed, except for E2 showing concentration of 120 ng L-1 (Table 2).

Figure 1

Chromatogram of a surface water sample (a) without and (b) with a 300 ng L-1 spike of E2 and EE2 and 2000 ng L-1 spike of E1 subjected to DLLME–HPLC–FLD. peaks: 1-E2; 2-EE2; and 3-E1.

The results were considered satisfactory since no interfering compounds were observed at the same retention time of the analyzed analytes. This confirms that the sample preparation method was effective in eliminating interferents that could interfere with the quantification of the analytes in study or even damage the chromatographic system.

# 3.5 Comparison with other methods

Table 4 allows the comparison of the DLLME-HPLC-FLD method here developed with other methods presented in literature used for quantification of hormones in water samples. The parameters used for comparison were LOD (ng L-1), enrichment factor, time of extraction and sample volume.

Table 4

Comparison of DLLME-HPLC-FLD with other methods of quantification for hormone detection.

| Methodology | Hormones | LOD (ng L-1) | Enrichment Factor | Extraction Time | Sample Volume (mL) | Reference |
| --- | --- | --- | --- | --- | --- | --- |
| FPSE-HPLC-FLD | E2, EE2 | 20; 36 | 14.4; 14.7 | 10 min | 10 | (Kumar et al. 2014) |
| SPE-HPLC-UV | E1, E2 | 12;78 | 248; 269 | N.A | 50 | (S. Wang et al. 2008) |
| DLLME-HPLC-DAD-FLD | E1, E2, EE2 | 50; 10; 8 | 162; 276; 308 | 20 min | 5 | (Wu et al. 2012) |
| DLLME-HPLC-UV | E1, E2 | 10; 10 | 71; 78.5 | 10 min | 5 | (Hadjmohammadi and Ghoreishi 2011) |
| CPE-HPLC-UV | E1, E2 | 250; 320 | 152; 73 | 5 min | 10 | (L. Wang et al. 2006) |
| SPME-HPLC-UV-ED | E1, E2, EE2 | 700; 700; 700 | N.A | 35min | 3.5 | (Peñalver et al. 2002) |
| SPE-HPLC-FLD | E2 | 650 | N.A | N.A | 100 | (Melo and Brito 2014) |
| DLLME-HPLC-FLD | E2, EE2 | 2;6.5 | 72; 89 | 30s | 8 | (Lima et al. 2013) |
| SPME-GC-MS | E1, E2, EE2 | 25, 20, 40 | N.A | N.A | 500 | (Dévier et al. 2013) |
| DLLME-GC-MS | E2, EE2 | 3140; 4830 | N.A | 15s | 7.9 | (Koçoğlu et al. 2019) |
| SPME-LC-MS | E1, E2, EE2 | 18; 12; 5 | N.A | N.A | 250 | (Pessoa et al. 2009) |
| DLLME-HPLC-FLD | E1, E2, EE2 | 20; 3.1; 2.7 | 140; 202; 199 | 30s | 8 | This study |

FPSE-Fabric phase sorptive extraction; SPE-Solid phase extraction; FLD-Fluorescence detector; DAD-Diode array; CPE-Cloud point extraction; SPME-Solid-phase microextraction.

N.A: not applied

Comparing with SPE (Melo and Brito 2014; S. Wang et al. 2008), DLLME has many advantages: easier to implement, low extraction time and low sample volume. Comparing with fabric phase sorptive extraction (FPSE)  (Kumar et al. 2014) and SPME (Peñalver et al. 2002), the sample volume is similar, however the extraction time is significantly reduced, and we reach a better enrichment factor. Wu (Wu et al. 2012), Hadjmohammadi (Hadjmohammadi and Ghoreishi 2011) and Lima et al. (Lima et al. 2013) used the DLLME-HPLC and concluded that the method is advantageous in relation to the others due to the reach of low detection limits, lower extraction volumes and less use of organic solvents. In our work the extraction time was reduced when comparing with the work developed by Hadjmohammadi (Hadjmohammadi and Ghoreishi 2011) and the enrichment factors were higher. Comparing with CPE-HPLC-UV (L. Wang et al. 2006), our work reached lower limits of detection, shorter extraction time, smaller sample volume and the analysis of three hormones using only one detector. The DLLME technique resulted in detection limits similar to those obtained using SPME (Dévier et al. 2013; Pessoa et al. 2009) and has several advantages: low use of solvents, simple and low cost technique. When compared to high maintenance cost analytical equipment’s, such as GC-MS and or LC-MS, the hereby optimized method proved to be superior, reaching lower detection limits (Koçoğlu et al. 2019).

Overall, the proposed method has several advantages over other extraction techniques, showing that it is a suitable pre-treatment method for the determination of hormones in water samples.

# CONCLUSIONS

The DLLME method has many advantages over the traditional methods of sample preparation for hormones determination in water samples, among them we can mention good recovery percentages and high enrichment factors. This work presents the development of a robust and selective analytical method for the determination of E1, E2 and EE2 in aqueous samples. The DLLME-based methodology, coupled with HPLC-FLD, provided high extraction recovery rates (76 to 114% in surface water and 84 to 109% in wastewater samples. The high HPLC separation capacity along with the high sensitivity of the fluorescence detector, coupled with the fast and efficient sample preparation method offers several advantages in the determination of estrogens and can be used as a routine method in several laboratories. The DLLME-HPLC-FLD strategy is a fast and economical methodology to determine and quantify E1, E2 and EE2 in different aquatic effluents.

Acknowledgements

The autors Erika Sousa, Reyla Dias, Lanna Silva and Gilmar Silva would like to acknowledge from Fundação de Amparo à Pesquisa (Fapema) and Coordenação de Aperfeiçoamento de Pessoal de Nível Superior (CAPES) for the funding obtained in this work. Diana Lima was funded by national funds (OE), through FCT Fundação para a Ciência e a Tecnologia, I.P., in the scope of the framework contract foreseen in the numbers 4, 5 and 6 of the article 23, of the Decree-Law 57/2016, of August 29, changed by Law 57/2017, of July 19. Also, thanks are due, for the financial support to CESAM (UIDB/50017/2020+UIDP/50017/2020), to FCT/MCTES through national funds and funding by FEDER through CENTRO 2020 and by national funds through within the research project PTDC/ASP-PES/29021/2017.

# REFERENCES

Alves, A., Vanermen, G., Covaci, A., & Voorspoels, S. (2016). Ultrasound assisted extraction combined with dispersive liquid – liquid microextraction ( US-DLLME ) — a fast new approach to measure phthalate metabolites in nails. Analytical and Bioanalytical Chemistry. https://doi.org/10.1007/s00216-016-9727-1

Becker, D., Rodriguez-Mozaz, S., Insa, S., Schoevaart, R., Barceló, D., De Cazes, M., et al. (2017). Removal of Endocrine Disrupting Chemicals in Wastewater by Enzymatic Treatment with Fungal Laccases. Organic Process Research and Development, 21(4), 480–491. https://doi.org/10.1021/acs.oprd.6b00361

Berenger, J. N., Moraes, J. C., Oliveira, M. ., Raimundo, J. M., & Molisani, M. M. (2017). Effects of diesel oil and environmental quality on the enzymatic activities of a tropical estuarine catfish and implications for contamination assessment. Ecotoxicology and Environmental Contamination, 12(1), 103–111. https://doi.org/10.5132/eec.2017.01.13

Česen, M., & Heath, E. (2017). Disk-based solid phase extraction for the determination of diclofenac and steroidal estrogens E1, E2 and EE2 listed in the WFD watch list by GC–MS. Science of the Total Environment, 590–591, 832–837. https://doi.org/10.1016/j.scitotenv.2017.02.222

da Silva, G. S., Lima, D. L. D., & Esteves, V. I. (2017). Salicylic acid determination in estuarine and riverine waters using hollow fiber liquid-phase microextraction and capillary zone electrophoresis. Environmental Science and Pollution Research. https://doi.org/10.1007/s11356-017-9183-2

de Jesus Gaffney, V., Almeida, C. M. M., Rodrigues, A., Ferreira, E., Benoliel, M. J., & Cardoso, V. V. (2015). Occurrence of pharmaceuticals in a water supply system and related human health risk assessment. Water Research, 72, 199–208. https://doi.org/10.1016/j.watres.2014.10.027

Dévier, M. H., Le Menach, K., Viglino, L., Di Gioia, L., Lachassagne, P., & Budzinski, H. (2013). Ultra-trace analysis of hormones, pharmaceutical substances, alkylphenols and phthalates in two French natural mineral waters. Science of the Total Environment, 443, 621–632. https://doi.org/10.1016/j.scitotenv.2012.10.015

Di Donato, M., Cernera, G., Giovannelli, P., Galasso, G., Bilancio, A., Migliaccio, A., & Castoria, G. (2017). Recent advances on bisphenol-A and endocrine disruptor effects on human prostate cancer. Molecular and Cellular Endocrinology, 457, 35–42. https://doi.org/10.1016/j.mce.2017.02.045

do Nascimento, M. T. L., Santos, A. D. de O., Felix, L. C., Gomes, G., de Oliveira e Sá, M., da Cunha, D. L., et al. (2018). Determination of water quality, toxicity and estrogenic activity in a nearshore marine environment in Rio de Janeiro, Southeastern Brazil. Ecotoxicology and Environmental Safety, 149(August 2017), 197–202. https://doi.org/10.1016/j.ecoenv.2017.11.045

Dodgen, L. K., Kelly, W. R., Panno, S. V., Taylor, S. J., Armstrong, D. L., Wiles, K. N., et al. (2017). Characterizing pharmaceutical, personal care product, and hormone contamination in a karst aquifer of southwestern Illinois, USA, using water quality and stream flow parameters. Science of the Total Environment, 578, 281–289. https://doi.org/10.1016/j.scitotenv.2016.10.103

Ekpeghere, K. I., Sim, W.-J., Lee, H.-J., & Oh, J.-E. (2018). Occurrence and distribution of carbamazepine, nicotine, estrogenic compounds, and their transformation products in wastewater from various treatment plants and the aquatic environment. Science of The Total Environment, 640–641, 1015–1023. https://doi.org/10.1016/J.SCITOTENV.2018.05.218

Fredj, S. Ben, Nobbs, J., Tizaoui, C., & Monser, L. (2015). Removal of estrone (E1), 17b-estradiol (E2), and 17a-ethinylestradiol (EE2) from wastewater by liquid–liquid extraction. CHEMICAL ENGINEERING JOURNAL, 262, 417–426. https://doi.org/10.1016/j.cej.2014.10.007

Gałuszka, A., Migaszewski, Z., & Namieśnik, J. (2013). The 12 principles of green analytical chemistry and the SIGNIFICANCE mnemonic of green analytical practices. TrAC - Trends in Analytical Chemistry, 50, 78–84. https://doi.org/10.1016/j.trac.2013.04.010

Hadjmohammadi, M. R., & Ghoreishi, S. S. (2011). Determination of estrogens in water samples using dispersive liquid liquid microextraction and high performance liquid chromatography. Acta Chimica Slovenica, 58(4), 765–771.

Kleywegt, S., Pileggi, V., Yang, P., Hao, C., Zhao, X., Rocks, C., et al. (2011). Pharmaceuticals, hormones and bisphenol A in untreated source and finished drinking water in Ontario, Canada - Occurrence and treatment efficiency. Science of the Total Environment, 409(8), 1481–1488. https://doi.org/10.1016/j.scitotenv.2011.01.010

Koçoğlu, E. S., Sözüdoğru, O., Komesli, O. T., Yılmaz, A. E., & Bakırdere, S. (2019). Simultaneous determination of drug active compound, hormones, pesticides, and endocrine disruptor compounds in wastewater samples by GC-MS with direct calibration and matrix matching strategies after preconcentration with dispersive liquid-liquid microext. Environmental Monitoring and Assessment, 191(11), 653. https://doi.org/10.1007/s10661-019-7676-9

Kocúrová, L., Balogh, I. S., Šandrejová, J., & Andruch, V. (2012). Recent advances in dispersive liquid-liquid microextraction using organic solvents lighter than water. A review. Microchemical Journal, 102, 11–17. https://doi.org/10.1016/j.microc.2011.12.002

Kumar, R., Gaurav, Heena, Malik, A. K., Kabir, A., & Furton, K. G. (2014). Efficient analysis of selected estrogens using fabric phase sorptive extraction and high performance liquid chromatography-fluorescence detection. Journal of Chromatography A, 1359, 16–25. https://doi.org/10.1016/j.chroma.2014.07.013

Kuster, M., Azevedo, D. A., López de Alda, M. J., Aquino Neto, F. R., & Barceló, D. (2009). Analysis of phytoestrogens, progestogens and estrogens in environmental waters from Rio de Janeiro (Brazil). Environment International, 35(7), 997–1003. https://doi.org/10.1016/j.envint.2009.04.006

Liao, K., Mei, M., Li, H., Huang, X., & Wu, C. (2016). Multiple monolithic fiber solid-phase microextraction based on a polymeric ionic liquid with high-performance liquid chromatography for the determination of steroid sex hormones in water and urine. Journal of Separation Science, 39(3), 566–575. https://doi.org/10.1002/jssc.201501156

Lima, D. L. D., Silva, C. P., & Otero, M. (2018). Dispersive liquid-liquid microextraction for the quantification of venlafaxine in environmental waters. Journal of Environmental Management, 217, 71–77. https://doi.org/10.1016/j.jenvman.2018.03.060

Lima, D. L. D., Silva, C. P., Otero, M., & Esteves, V. I. (2013). Low cost methodology for estrogens monitoring in water samples using dispersive liquid-liquid microextraction and HPLC with fluorescence detection. Talanta, 115, 980–985. https://doi.org/10.1016/j.talanta.2013.07.007

Melo, S. M., & Brito, N. M. (2014). Analysis and occurrence of endocrine disruptors in Brazilian water by HPLC-fluorescence detection. Water, Air, and Soil Pollution, 225(1). https://doi.org/10.1007/s11270-013-1783-y

Peñalver, A., Pocurull, E., Borrull, F., & Marcé, R. M. (2002). Method based on solid-phase microextraction-high-performance liquid chromatography with UV and electrochemical detection to determine estrogenic compounds in water samples. Journal of Chromatography A, 964(1–2), 153–160. https://doi.org/10.1016/S0021-9673(02)00694-5

Pessoa, G. P., Souza, N. C. de, Vidal, C. B., Alves, J. A. C., & Paulo Igor M. Firmino, Ronaldo F. Nascimento, A. B. dos S. (2009). Simultaneous determination of ten estrogens and their metabolites in waters by improved two-step SPE followed by LC-MS. Chromatographia, 69(7–8), 621–628. https://doi.org/10.1365/s10337-009-0957-7

Peters, F. T., Drummer, O. H., & Musshoff, F. (2007). Validation of new methods. Forensic Science International, 165(2–3), 216–224. https://doi.org/10.1016/j.forsciint.2006.05.021

Razmkhah, K., & Sereshti, H. (2018). Extraction and Determination of Three Steroid Molecules in Milk Using Functionalized Magnetic Carbon Nanotube-Based Solid Phase Extraction Coupled with HPLC, 3179–3189. https://doi.org/10.1007/s12161-018-1298-7

Rezaee, M., Assadi, Y., Milani Hosseini, M.-R., Aghaee, E., Ahmadi, F., & Berijani, S. (2006). Determination of organic compounds in water using dispersive liquid-liquid microextraction. Journal of chromatography. A, 1116(1–2), 1–9. https://doi.org/10.1016/j.chroma.2006.03.007

Rocha, M. J., Cruzeiro, C., Reis, M., Rocha, E., & Pardal, M. (2013a). Determination of seventeen endocrine disruptor compounds and their spatial and seasonal distribution in Ria Formosa Lagoon (Portugal). Environmental Monitoring and Assessment, 185(10), 8215–8226. https://doi.org/10.1007/s10661-013-3168-5

Rocha, M. J., Cruzeiro, C., Reis, M., Rocha, E., & Pardal, M. A. (2013b). Determination of 17 endocrine disruptor compounds and their spatial and seasonal distribution in the Sado River Estuary (Portugal). Toxicological and Environmental Chemistry, 95(2), 237–253. https://doi.org/10.1080/02772248.2012.758730

Rodenas, M. C., Cabas, I., Gómez-González, N. E., Arizcun, M., Meseguer, J., Mulero, V., & García-Ayala, A. (2017). Estrogens promote the production of natural neutralizing antibodies in fish through G protein-coupled estrogen receptor 1. Frontiers in Immunology, 8(JUN). https://doi.org/10.3389/fimmu.2017.00736

Seebunrueng, K., Santaladchaiyakit, Y., & Srijaranai, S. (2014). Vortex–assisted low density solvent liquid– liquid microextraction and salt–induced de- mulsification coupled to High performance liquid chromatography for the determination of five organophosphorus pesticide residues in fruits Ketsarin. Talanta. https://doi.org/10.1016/j.talanta.2014.10.020

Sifakis, S., Androutsopoulos, V. P., Tsatsakis, A. M., & Spandidos, D. A. (2017). Human exposure to endocrine disrupting chemicals: effects on the male and female reproductive systems. Environmental Toxicology and Pharmacology, 51, 56–70. https://doi.org/10.1016/j.etap.2017.02.024

Sodré, F. F., Locatelli, M. A. F., & Jardim, W. F. (2010). Occurrence of emerging contaminants in Brazilian drinking waters: A sewage-to-tap issue. Water, Air, and Soil Pollution, 206(1–4), 57–67. https://doi.org/10.1007/s11270-009-0086-9

Sodré, F. F., Pescara, I. C., Montagner, C. C., & Jardim, W. F. (2010). Assessing selected estrogens and xenoestrogens in Brazilian surface waters by liquid chromatography-tandem mass spectrometry. Microchemical Journal, 96(1), 92–98. https://doi.org/10.1016/j.microc.2010.02.012

Spietelun, A., Marcinkowski, Ł., De La Guardia, M., & Namieśnik, J. (2014). Green aspects, developments and perspectives of liquid phase microextraction techniques. Talanta, 119(October 2017), 34–45. https://doi.org/10.1016/j.talanta.2013.10.050

Thrupp, T. J., Runnalls, T. J., Scholze, M., Kugathas, S., Kortenkamp, A., & Sumpter, J. P. (2018). The consequences of exposure to mixtures of chemicals: Something from ‘nothing’ and ‘a lot from a little’ when fish are exposed to steroid hormones. Science of the Total Environment, 619–620, 1482–1492. https://doi.org/10.1016/j.scitotenv.2017.11.081

Torres, N. H., Aguiar, M. M., Ferreira, L. F. R., Américo, J. H. P., Machado, Â. M., Cavalcanti, E. B., & Tornisielo, V. L. (2015). Detection of hormones in surface and drinking water in Brazil by LC-ESI-MS/MS and ecotoxicological assessment with Daphnia magna. Environmental Monitoring and Assessment, 187(6). https://doi.org/10.1007/s10661-015-4626-z

Tuzen, M., Uluozlu, O. D., Mendil, D., Soylak, M., Machado, L. O. R., Santos, W. N. L., & Ferreira, S. L. C. (2017). A simple, rapid and green ultrasound assisted and ionic liquid dispersive microextraction procedure for the determination of tin in foods employing ETAAS. Food Chemistry. https://doi.org/10.1016/j.foodchem.2017.10.115

Wang, L., Cai, Y. Q., He, B., Yuan, C. G., Shen, D. Z., Shao, J., & Jiang, G. Bin. (2006). Determination of estrogens in water by HPLC-UV using cloud point extraction. Talanta, 70(1 SPEC. ISS.), 47–51. https://doi.org/10.1016/j.talanta.2006.01.013

Wang, S., Huang, W., Fang, G., He, J., & Zhang, Y. (2008). On-line coupling of solid-phase extraction to high-performance liquid chromatography for determination of estrogens in environment. Analytica Chimica Acta, 606(2), 194–201. https://doi.org/10.1016/j.aca.2007.11.030

Wu, C.-Q., Chen, D.-Y., Feng, Y.-S., Deng, H.-M., Liu, Y.-H., & Zhou, A.-J. (2012). Determination of Estrogens in Water Samples by Ionic Liquid-Based Dispersive Liquid-Liquid Microextraction Combined with High Performance Liquid Chromatography. Analytical Letters, 45(14), 1995–2005. https://doi.org/10.1080/00032719.2012.680086